Pt

3/30/00

- 10/10 on Russian stim breaks muscle spasm

- Galvanic current is DC and strong

- The larger the electrode, the less the pt feels under the electrode

- Pulsed short-wave diathermy is capable of heating larger area than US

- Contraindications to traction

  - Old age

  - Hemorrhoids

  - Peptic ulcers

  - Hernia

- Blood is the best electrical conductor of the tissues

- Monopolar technique, polarity is same for the duration of the Tx

- EMS therapy, intensity for 3” carbon pad (round) = 25-30

- Modes of tx in biphasic

  - Normal

  - Co-contraction

  - Reciprocal

- Angle of pull treating T/L conditions is b/w 15( and 50(

- Micro amperage stimulation devices are not used to stimulate nerves as do more traditional forms of electric stimulation

- Effective in Tx of pain following acute injury—interferential

- Direct current is not polyphasic

- Hyperlordosis of lumbar spine Tx is w/an angle of pull from 30(-50(

- Depth of penetration in short-wave diathermy is increased by moving electrodes further apart

- Contraindications for the use of moist heat include

  - Anti-coagulant therapy

  - Dermatologic conditions

- Skin impedance is higher w/direct current than w/AC

- Duration of traction is usually 20min

- You can enhance areas of Tx by engaging the vector button

- Pulsed currents are used in medium frequency therapy

- Bipolar (AC) both electrodes are active electrodes (ex:  Russian Stim)

- Which is not a local effect of heat application?

  - Increased muscle tone (you relax the muscle w/heat application)

- Iontophoresis, positive charged ions are not driven into tissues by the negative pole

24.  Types of Tx applicators use in short wave diathermy are:

- Co-planar

- Inductor—drum

- Longitudinal

- Condenser—space pads

25.  What is the most commonly used heat modality that transfers heat by conduction?

- Hot moist heat packs

- Paraffin

- Diathermy

- US

26.  TENS electrode placement is best applied over or around the painful site

- True

27.  Two types of motorized traction useful in controlling NMS disorders

- Intersegmental

- Long axis

- Halo traction

- Gravity traction

28. In the use of long axis traction and in order to affect the lower thoracic and lumbar vertebra 1-3, the angle of pull must be

- 15-30

29.  Recommended Tx protocol for long axis traction is that manipulation be continued during the course of traction therapy

- False

30.  A medium ( stimulator is used to produce a “Wedinsky” inhibition effect (accommodation)

- True (4000Hz—nerve block)

31.  Electrical currents are used to produce muscle contraction, analgesia or chemical effects

- True

32.  The only type of current (non-pulsed continuous) in therapeutic use that is non-pulsed is galvanic

- True

33.  Over the door cervical traction is best-applied w/the pt’s back to the door (extension)

- False (flexion—open IVF)

34.  Which of the following is a contraindication for the use of a paraffin bath?

- Skin condition